# IQeye 7xx Series, IQ705

# Color, 5.0 Megapixel Resolution Network Camera

Architectural and Engineering Specification

Part 2 – Products

2.01 	Manufacturer

A.	IQinVision

33122 Valle Road

San Juan Capistrano, CA  92675

Phone +1 949.369.8100

Fax	+1 949.369.8105

2.02	Product Description

The product specified shall be an industrial grade, color, full-featured, high-speed 5.0 megapixel network camera with on-camera recording/playback capabilities. The product is designed to meet or exceed industrial and surveillance applications requiring a low power, rugged video camera with IP network capability. The camera has a built-in web server and FTP server. It is IEEE 802.3af Power-over-Ethernet ready and can also be powered directly using 12-24 VDC or 24 VAC. The camera will include a NTSC/PAL analog public view output.

2.03	General Camera Requirements

A.	The high-resolution color camera specified shall incorporate a progressive scan CMOS imager with a 1/2-inch optical format, not less than 5.0 million pixels and shall have a dichroic infrared mirror.

B.	The image resolution shall be no less than 2560(H) x 1920(V) pixels. The camera’s aspect ratio (horizontal vs. vertical lines) shall be user configurable and not limited to 4:3 or 16:9 aspect ratios.

C.	The camera shall produce 10 frames per second (fps) at full 2560(H) x 1920(V) resolution. The maximum frame rates are 10fps at 4:3 aspect ratio and 13fps at 16:9 aspect ratio.

D.	Minimum light requirement to produce a color image shall be approximately 0.30 lux (0.03 fc) with an f1.2 lens.

E.	The camera shall provide automatic white balance, automatic exposure, gain control, electronic shutter, and backlight compensation.

F.	A night mode, such as the IQeye Lightgrabber( feature, shall slow the shutter speed down to enhance the nighttime sensitivity of the camera.

G.	The camera shall have at least 64MB of RAM and 4MB of flash memory.

H.	Digital image authentication shall be optionally available and licensed to verify that images have not been altered, manipulated, or tampered with, in any way.

I.	The camera shall provide both a TCP/IP protocol video output via a RJ-45 Ethernet connection and an NTSC (PAL) analog video output via a BNC connection. Video outputs may be used simultaneously.

J.	The camera shall provide on-screen time/date and text displays. The text display can be programmed to dynamically change when motion alarms are detected.

K.	The camera shall provide built-in motion detection allowing up to eight separate, rectangular motion windows (zones) to be independently configured. Each window may have its interior pixels included or excluded from consideration by the motion detection algorithm. Windows configured to have pixels included in the motion calculations shall allow the threshold of both the sensitivity (pixel values) and size (quantity of pixels) to be set.

L.	The camera shall provide on-screen, digital, pan/tilt/zoom on live or recorded video.

M.	User and Administrator password protection levels shall be provided.

N.	A recessed mechanical reset button shall be provided to return the camera to factory default settings.

- Up to eight (8) rectangular privacy windows may be configured to mask out specific video from view in the image.

- The camera shall capture image sequences by time lapse intervals or trigger events and transfer the jpeg images via FTP and/or e-mail.

- IQaccess software that enables multiple users to receive alerts via a pop-up window when the camera receives an internal or external trigger shall be available via an optional license upgrade.

2.04	Camera Networking Requirements

A.	The camera shall incorporate a built-in web server, built-in FTP server, and a built-in FTP client.

B.	Camera functionality shall be available to users running versions of Java VM( and versions of Netscape(, Internet Explorer(, SafariTM, OperaTM, or Mozilla( released after January 1, 2004.

C.	The camera shall provide integrated support for IP, TCP, UDP, ICMP, ARP, FTP, SMTP, DHCP, HTTP, RARP, BOOTP, SNMP, Telnet, and TFTP protocols.

D.	The camera shall provide a multiview function where a single browser page shall be capable of displaying streaming images from up to nine cameras simultaneously.

E.	No unique or proprietary client software shall be required for viewing or controlling the camera.

- The camera shall be user configurable and the administrator may functionally or aesthetically modify the camera’s web pages.

2.05	Camera Recording/Playback Requirements

A.	The manufacturer shall offer optional, licensable embedded recording/playback software that allows images to be recorded to an external FTP server or locally to an on-camera compact flash or micro-drive.

B.	Images may be stored at a fixed periodic record rate and/or when triggered by motion and/or external input. Playback shall allow all images recorded to be viewed forward or backward in time.

C.	The camera shall record all images in a proprietary file format.

- The camera shall include pre-event and post-event recording, time-date search, JPEG snapshot, and AVI export functionality.

- The camera shall provide for up to 64 area-of-interest streams that can be independently created of any size and aspect ratio and with any desired display resolution. Sub stream frame rate can also be configured, up to the maximum frame rate delivered by the camera.

- The Camera shall offer a web interface for quick creation of up to three sub stream windows with auto-port configuration of each stream.

2.06	Event (Alarm) Handling Capability

A.	The camera shall be capable of recording an event as pre and post event images to on-board Media Type I or II compact flash or to micro-drive storage. The camera shall also be able to transfer the event’s JPEG images to an FTP server via File Transfer Protocol (FTP). Events may be triggered using camera motion detection or from an external device input such as a relay.

B.	When triggered from an external input or the camera’s motion detector, the camera shall be capable of sending JPEG images via e-mail and/or sequences of images to an FTP server or on-board compact flash if one is installed.

C.	A relay output shall be available upon the activation of the camera’s motion detector or external relay input. The relay output may also be manually activated from the live view screen.

2.07	Connectors

A.	RJ-45	Ethernet connector (IEEE 802.3af PoE compliant)

B.	Analog video: 75(, BNC connector

C.	Compact Flash Media Slot: (CF Media Type I or II or Micro Drive)

D.	Alarm I/O:	4-pin terminal (rear) screw terminal.

E.	Power Supply:	2-pin captive terminal screw terminal.

F.	Factory reset: momentary pushbutton switch.

2.08	Electrical Specifications

A.	Power Consumption: less than 2.5 watts

B.	Power requirement: 12-24 VDC or 24VAC via a two-pin removable connector or via IEEE 802.3af Power-over-Ethernet on CAT5, CAT5e, or CAT6 cable.

2.09	Mechanical Specifications

A.	Weight (without lens): 13oz. (369g)

B. Dimensions w/o lens: 2.52 H x 2.52 W x 4.41 D in

64 H x 64 W x 112 D mm

C.	Lens mount:	Native CS-mount or C-mount with a C/CS adapter.

D.	Camera Mount: 1/4-20 UNC (top and bottom)

E. The camera shall feature solid-state components to resist shock and vibration and have no moving parts.

2.10	Environmental Specifications

A.	Operating temperature range: -20o C to +50o C (-4o F to +122o F)

B.	Humidity:	10% to 80%, non-condensing

2.11	Certifications and Approvals

A.	Electromagnetic Compatibility

a.	Emissions:

i. 	FCC, class A part 15

- EN 55022:1998 with A1:2000, A2:2003; Class A

- CISPR 22: 1997 with A1:2000, A2:2002; Class A

iv. 	AS/NZS CISPR 22:2002; Class A

b.	Immunity:

i.		EN 55024:1998 with A1:2001, A2:2003

ii.	CISPR 24:1997 with A1:2001, A2:2002

B.	Safety:

a.	EN 60950-1:2001 with A11:2004

b.	IEC 60950-1:2001

C.	RoHS

a.	All material and/or components used in the manufacture of the product shall be in compliance with the EU Directive 2002/95/EC Restriction of Hazardous Substance (RoHS).

2.12	Warranty

A. Manufacturer shall warrant the camera to be free from defects in 	material and workmanship for three years from the purchase date.