# IQeye 5 Series, IQ542SI

# Color, 2 Megapixel Resolution Network Camera

Architectural and Engineering Specification

Part 2 – Products

2.01 	Manufacturer

A.	IQinVision

33122 Valle Road

San Juan Capistrano, CA  92675

Phone +1 949.369.8100

Fax	+1 949.369.8105

B.	Manufacturer shall warrant the camera to be free from defects in material and workmanship for two years from the purchase date.

2.02	General Network Camera Descriptions

The product specified shall be an industrial grade, color, full-featured, high-speed megapixel resolution network camera. The product is designed to meet or exceed industrial and surveillance applications requiring a low power, rugged video camera with IP network capability. The camera has a built-in web server. It is IEEE 802.3af Power-over-Ethernet ready and can also be powered directly using 12-24 VDC or 24 VAC.  The camera will include an analog video output for focusing.

2.03	General Camera Requirements

A.	The high-resolution color camera specified shall incorporate a progressive scan CMOS imager with a 1/3-inch optical format, not less than 2 million pixels and shall have a dichroic infrared mirror.

B.	The image resolution shall be no less than 1600(H) x 1200(V) pixels. The camera’s aspect ratio (horizontal vs. vertical lines) shall be user configurable and not limited to 4:3 (standard) or 16:9 (wide screen) aspect ratios.

C.	The camera shall produce a frame rate of 17 frames per second (fps) at 2 megapixel resolution (1600(H) x 1200(V) 4:3 (standard) aspect ratio.

D. The camera shall produce a maximum frame rate of 18 frames per second (fps) at a 1600(H) x 900(H) resolution 16:9 (wide screen) aspect ratio.

E.	Minimum light requirement to produce an image shall be approximately 0.20 lux (0.02 fc) with an f1.2 lens.

F.	The camera shall provide automatic white balance, automatic exposure, gain control, electronic shutter, backlight compensation, and motion detection.

G.	The camera shall have at least 32MB of RAM and 8MB of flash memory and will use MJPEG compression that can be viewed via a standard browser.

H.	The camera shall provide a TCP/IP protocol video output via a RJ-45 Ethernet connection and an analog video output via an RCA connection.

I.	The camera shall provide on-screen text displays.

J.	User and Administrator password protection levels shall be provided.

K.	A recessed mechanical reset button shall be provided to return the camera to factory default settings.

2.04	Camera Networking Requirements

A.	The camera shall incorporate a built-in web server.

B.	Camera functionality shall be available to users running versions of Netscape(, Internet Explorer(, SafariTM, OperaTM, or Mozilla( released after January 1, 2004.

C.	The camera shall provide integrated support for IP, TCP, ICMP, ARP, DHCP, HTTP, and RARP.

D.	No unique or proprietary client software shall be required for viewing or controlling the camera.

E.	The camera shall be user configurable and the administrator may functionally or aesthetically modify the camera’s web pages.

2.06	Connectors

A.	RJ-45	Ethernet connector (IEEE 802.3af POE compliant)

B. Video output: 75Ω RCA connector

C. Power Supply: 2-pin captive screw terminal

D. Factory reset: Momentary pushbutton switch

2.07	Electrical Specifications

A.	Power Consumption: less than 2.5 watts

B.	Power requirement: IEEE 802.3af Power-over-Ethernet on CAT-5 
cable or via 12-24 VDC or 24 VAC via a two-pin removable connector.

2.08	Mechanical Specifications

A.	Weight (without lens): 8 oz. (231g)

B. Dimensions w/o lens: 2.91 H x 3.46 W x 1.65 D in.

74 H x 88 W x 42 D mm

C.	Lens mount:	Native CS-mount or C-mount with a C/CS adapter.

D.	Camera Mount: 1/4-20 UNC (top and bottom)

E. The camera shall feature solid-state components to resist shock and vibration and have no moving parts.

2.09	Environmental Specifications

A.	Operating temperature range: 0o C to +40o C (+32o F to +104o F)

B.	Humidity:	10% to 80%, non-condensing

  - Certifications and Approvals

- Electromagnetic Compatibility

  - Emissions:

    - FCC, class A part 15

    - EN 55022:1998 with A1:2000, A2:2003; Class A

    - CISPR 22: 1997 with A1:2000, A2:2002; Class A

    - AS/NZS CISPR 22:2002; Class A

  - Immunity:

    - EN 55024:1998 with A1:2001, A2:2003

    - CISPR 24:1997 with A1:2001, A2:2002

- Safety:

  - EN 60950-1:2001 with A11:2004

  - IEC 60950-1:2001

  - UL60950-1, 2nd Edition, 2007-03-27 – Information Technology 
Equipment. Safety.  General Requirements.

  - CAN/CSA C22.2 No. 60950-1-07, 2nd Edition, 2007-03 – Information Technology Equipment. Safety. General Requirements.

- RoHS

  - All material and/or components used in the manufacture of the product shall be in compliance with the EU Directive 2002/95/EC Restriction of Hazardous Substance (RoHS).